## GES T3 HARIAN
CATEGORY | JENIS PERANGKAT | AREA | HARIAN
|  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
Fire Alarm System | Heat/Smoke Detector/MCP | MCFA | bar: HARIAN 1
Fire Alarm System | Heat/Smoke Detector/MCP | LCFA Garuda, Circle K, Gate 5-9 | bar: HARIAN 1
Fire Alarm System | Heat/Smoke Detector/MCP | LCFA Main Building Domestik | bar: HARIAN 1
Fire Alarm System | Heat/Smoke Detector/MCP | LCFA Main Building Internasional | bar: HARIAN 1
Fire Alarm System | Heat/Smoke Detector/MCP | LCFA Main Building VIP | bar: HARIAN 1
Fire Alarm System | Heat/Smoke Detector/MCP | LCFA Parkir Domestik | bar: HARIAN 1
Fire Alarm System | Heat/Smoke Detector/MCP | LCFA Parkir Internasional | bar: HARIAN 2
Fire Alarm System | Heat/Smoke Detector/MCP | LCFA Perkantoran API | bar: HARIAN 2
Fire Alarm System | Heat/Smoke Detector/MCP | LCFA Pier 1 Internasional | bar: HARIAN 2
Fire Alarm System | Heat/Smoke Detector/MCP | LCFA Pier 2 Domestik | bar: HARIAN 2
Fire Alarm System | PC Monitoring FAS | Ruang Server | bar: HARIAN 4
Digital Media | Digital Banner | Arrival Domestik | bar: HARIAN 4
Digital Media | Digital Banner | Arrival Internasional | bar: HARIAN 4
Digital Media | Digital Banner | BCB Domestik | bar: HARIAN 4
Digital Media | Digital Banner | BL Domestik | bar: HARIAN 5
Digital Media | Digital Banner | BL Internasional | bar: HARIAN 5
Digital Media | Digital Banner | Check-in | bar: HARIAN 5
Digital Media | Digital Banner | Curbside | bar: HARIAN 5
Digital Media | Digital Banner | Plaza Domestik | bar: HARIAN 5
Digital Media | Digital Banner | SCP 2 Domestik | bar: HARIAN 5
Digital Media | Digital Banner | SCP 2 Internasional | bar: HARIAN 6
Digital Media | Running Text | Pier 2 Domestik | bar: HARIAN 6
Digital Media | Running Text | BL Domestik | bar: HARIAN 6
Digital Media | Running Text | BHS | bar: HARIAN 6
Digital Media | Running Text | BL Internasional | bar: HARIAN 6
Digital Media | Running Text | Parkir Domestik | bar: HARIAN 6
Digital Media | Running Text | Parkir Internasional | bar: HARIAN 7
Digital Media | Static Bigmaps | BCB Domestik | bar: HARIAN 7
Digital Media | Static Bigmaps | BCB Internasional | bar: HARIAN 7
Digital Media | Static Bigmaps | BL Domestik | bar: HARIAN 7
Digital Media | Static Bigmaps | BL Internasional | bar: HARIAN 7
Digital Media | Static Bigmaps | Check-in | bar: HARIAN 7
Digital Media | Static Bigmaps | Curbside | bar: HARIAN 8
Digital Media | Static Bigmaps | Plaza Domestik | bar: HARIAN 8
Digital Media | Static Bigmaps | SCP 2 Internasional | bar: HARIAN 8
Digital Media | Wayfinding | BL Internasional | bar: HARIAN 8
Digital Media | Wayfinding | BL Domestik | bar: HARIAN 8
Digital Media | Wayfinding | BCB Domestik | bar: HARIAN 8
Digital Media | Wayfinding | BCB Internasional | bar: HARIAN 9
Digital Media | Wayfinding | Arrival Domestik | bar: HARIAN 9
Digital Media | Wayfinding | Arrival Internasional | bar: HARIAN 9
Digital Media | Wayfinding | Skybridge Domestik | bar: HARIAN 9
Digital Media | Wayfinding | Skybridge Internasional | bar: HARIAN 9
Digital Media | Wayfinding | SCP 2 Domestik | bar: HARIAN 9
Digital Media | Wayfinding | SCP 2 Internasional | bar: HARIAN 10
Digital Media | Wayfinding | Plaza Domestik | bar: HARIAN 10
Digital Media | Wayfinding | Plaza Internasional | bar: HARIAN 10
Digital Media | Wayfinding | Check-in | bar: HARIAN 10
Digital Media | TV Hiburan | Pier 2 Domestik | bar: HARIAN 10
Digital Media | TV Informasi | Check-in | bar: HARIAN 10
Digital Media | Digital Signage | Pier 1 Internasional | bar: HARIAN 11
Digital Media | Digital Signage | BL Internasional | bar: HARIAN 11
Digital Media | Digital Signage | BL Domestik | bar: HARIAN 11
Digital Media | Digital Signage | Pier 2 Domestik | bar: HARIAN 11
Digital Media | Videotron | Parkir Domestik | bar: HARIAN 11
Digital Media | Videotron | Curbside | bar: HARIAN 11
IBMS / TCS / BAS | DDC | Apron | bar: HARIAN 12
IBMS / TCS / BAS | DDC | Arrival Domestik | bar: HARIAN 12
IBMS / TCS / BAS | DDC | Arrival Internasional | bar: HARIAN 12
IBMS / TCS / BAS | DDC | BCB Internasional | bar: HARIAN 12
IBMS / TCS / BAS | DDC | BL Domestik | bar: HARIAN 12
IBMS / TCS / BAS | DDC | BL Internasional | bar: HARIAN 12
IBMS / TCS / BAS | DDC | Check-in | bar: HARIAN 13
IBMS / TCS / BAS | DDC | Chiller Internasional | bar: HARIAN 13
IBMS / TCS / BAS | DDC | Gedung VIP | bar: HARIAN 13
IBMS / TCS / BAS | DDC | Parkir Domestik | bar: HARIAN 13
IBMS / TCS / BAS | DDC | Parkir Internasional | bar: HARIAN 13
IBMS / TCS / BAS | DDC | Pier 1 Internasional | bar: HARIAN 13
IBMS / TCS / BAS | DDC | Pier 2 Domestik | bar: HARIAN 14
IBMS / TCS / BAS | PC Monitoring IBMS | Ruang Server | bar: HARIAN 14
IBMS / TCS / BAS | PC Monitoring IBMS | Perkantoran Domestik | bar: HARIAN 14
Intercom dan CCTV Lift | Slave Intercom | Arrival Internasional | bar: HARIAN 14
Intercom dan CCTV Lift | Slave Intercom | BL Domestik | bar: HARIAN 14
Intercom dan CCTV Lift | Slave Intercom | BL Internasional | bar: HARIAN 15
Intercom dan CCTV Lift | Slave Intercom | Check-in | bar: HARIAN 15
Intercom dan CCTV Lift | Slave Intercom | Parkir Domestik | bar: HARIAN 15
Intercom dan CCTV Lift | Slave Intercom | Parkir Internasional | bar: HARIAN 15
Intercom dan CCTV Lift | Slave Intercom | Pier 1 Internasional | bar: HARIAN 15
Intercom dan CCTV Lift | Slave Intercom | Pier 2 Domestik | bar: HARIAN 15
Intercom dan CCTV Lift | Slave Intercom | Plaza Domestik | bar: HARIAN 16
Intercom dan CCTV Lift | Slave Intercom | Plaza Internasional | bar: HARIAN 16
Intercom dan CCTV Lift | CCTV Lift | Arrival Domestik | bar: HARIAN 16
Intercom dan CCTV Lift | CCTV Lift | Arrival Internasional | bar: HARIAN 17
Intercom dan CCTV Lift | CCTV Lift | BL Domestik | bar: HARIAN 17
Intercom dan CCTV Lift | CCTV Lift | BL Internasional | bar: HARIAN 17
Intercom dan CCTV Lift | CCTV Lift | Check-in | bar: HARIAN 17
Intercom dan CCTV Lift | CCTV Lift | Parkir Domestik | bar: HARIAN 17
Intercom dan CCTV Lift | CCTV Lift | Parkir Internasional | bar: HARIAN 17
Intercom dan CCTV Lift | CCTV Lift | Pier 1 Internasional | bar: HARIAN 18
Intercom dan CCTV Lift | CCTV Lift | Pier 2 Domestik | bar: HARIAN 18
Intercom dan CCTV Lift | CCTV Lift | Plaza Domestik | bar: HARIAN 18
Intercom dan CCTV Lift | CCTV Lift | Plaza Internasional | bar: HARIAN 18
Game Station | Game Station | BL Domestik | bar: HARIAN 18
Public Address System | Microphone | BL Internasional | bar: HARIAN 19
Public Address System | Microphone | Pier 1 Internasional | bar: HARIAN 19
Public Address System | PC Monitoring PAS | Ruang Server | bar: HARIAN 19
Smart Airport | Smart Baggage | BCB Domestik | bar: HARIAN 20
Smart Airport | Smart Toilet | Arrival Domestik | bar: HARIAN 20
Smart Airport | Smart Toilet | Arrival Internasional | bar: HARIAN 20
Smart Airport | Smart Toilet | BL Domestik | bar: HARIAN 21
Smart Airport | Smart Toilet | BL Internasional | bar: HARIAN 21
Smart Airport | Smart Toilet | Check-in | bar: HARIAN 21
Smart Airport | Smart Toilet | Mezzanine Domestik | bar: HARIAN 21
Smart Airport | Smart Toilet | Mezzanine Internasional | bar: HARIAN 21
Smart Airport | Smart Toilet | Parkir Domestik | bar: HARIAN 21
Smart Airport | Smart Toilet | Parkir Internasional | bar: HARIAN 22
Smart Airport | Smart Toilet | Skybridge Domestik | bar: HARIAN 22
Smart Airport | Smart Toilet | Skybridge Internasional | bar: HARIAN 22
Smart Airport | VICA | Ruang Server | bar: HARIAN 22
Smart Airport | VICA | BL Internasional | bar: HARIAN 22
Smart Airport | VICA | BL Domestik | bar: HARIAN 22
Smart Airport | VICA | Arrival Domestik | bar: HARIAN 23
Smart Airport | VICA | Check-in | bar: HARIAN 23
Smart Airport | Smart Parkir | Parkir Internasional | bar: HARIAN 23
Smart Airport | Smart Parkir | Parkir Domestik | bar: HARIAN 23
Smart Airport | Smart Parkir | Ruang Server | bar: HARIAN 23
Smart Airport | CTF | Check-in | bar: HARIAN 23
Smart Airport | CTF | SCP 2 Internasional | bar: HARIAN 24
Smart Airport | CTF | SCP 2 Domestik | bar: HARIAN 24
Smart Airport | CTF | BCB Domestik | bar: HARIAN 24
Smart Airport | CTF | BCB Internasional | bar: HARIAN 24
Telepon | Pesawat Telepon | Apron | bar: HARIAN 24
Telepon | Pesawat Telepon | Arrival Domestik | bar: HARIAN 24
Telepon | Pesawat Telepon | Arrival Internasional | bar: HARIAN 25
Telepon | Pesawat Telepon | Bhs | bar: HARIAN 25
Telepon | Pesawat Telepon | BL Domestik | bar: HARIAN 25
Telepon | Pesawat Telepon | BL Internasional | bar: HARIAN 25
Telepon | Pesawat Telepon | Check-in | bar: HARIAN 25
Telepon | Pesawat Telepon | Gedung VIP | bar: HARIAN 25
Telepon | Pesawat Telepon | Mezzanine Internasional | bar: HARIAN 26
Telepon | Pesawat Telepon | Perkantoran Domestik | bar: HARIAN 26
Telepon | Pesawat Telepon | Perkantoran Internasional | bar: HARIAN 26
Telepon | Pesawat Telepon | Pier 1 Internasional | bar: HARIAN 26
Telepon | Pesawat Telepon | Pier 2 Domestik | bar: HARIAN 26
Telepon | Pesawat Telepon | Plaza Domestik | bar: HARIAN 26
Telepon | Pesawat Telepon | SCP 2 Domestik | bar: HARIAN 27
Telepon | PC Server PABX | Ruang Server | bar: HARIAN 27
Time Distribution System | Slave Clock | Arrival Domestik | bar: HARIAN 28
Time Distribution System | Slave Clock | Arrival Internasional | bar: HARIAN 28
Time Distribution System | Slave Clock | BCB Domestik | bar: HARIAN 28
Time Distribution System | Slave Clock | BCB Internasional | bar: HARIAN 28
Time Distribution System | Slave Clock | BL Domestik | bar: HARIAN 28
Time Distribution System | Slave Clock | BL Internasional | bar: HARIAN 28
Time Distribution System | Slave Clock | Check-in | bar: HARIAN 29
Time Distribution System | Slave Clock | Curbside | bar: HARIAN 29
Time Distribution System | Slave Clock | Gedung VIP | bar: HARIAN 29
Time Distribution System | Slave Clock | Mezzanine Domestik | bar: HARIAN 29
Time Distribution System | Slave Clock | Mezzanine Internasional | bar: HARIAN 29
Time Distribution System | Slave Clock | Pier 1 Internasional | bar: HARIAN 29
Time Distribution System | Slave Clock | Pier 2 Domestik | bar: HARIAN 30
Time Distribution System | Slave Clock | SCP 2 Domestik | bar: HARIAN 30
Time Distribution System | Slave Clock | SCP 2 Internasional | bar: HARIAN 30
Time Distribution System | Slave Clock | Skybridge Internasional | bar: HARIAN 30
Fasilitas Masjid | Petunjuk Waktu Sholat | Arrival Domestik | bar: HARIAN 30
Fasilitas Masjid | Petunjuk Waktu Sholat | Arrival Internasional | bar: HARIAN 30
Fasilitas Masjid | Petunjuk Waktu Sholat | BL Domestik | bar: HARIAN 1
Fasilitas Masjid | Petunjuk Waktu Sholat | BL Internasional | bar: HARIAN 1
Fasilitas Masjid | Petunjuk Waktu Sholat | Check-in | bar: HARIAN 1
Fasilitas Masjid | Petunjuk Waktu Sholat | Gedung VIP | bar: HARIAN 1
Fasilitas Masjid | Petunjuk Waktu Sholat | Masjid Domestik | bar: HARIAN 1
Fasilitas Masjid | Petunjuk Waktu Sholat | Masjid Internasional | bar: HARIAN 1
Fasilitas Masjid | Petunjuk Waktu Sholat | Pier 2 Domestik | bar: HARIAN 2
Fasilitas Masjid | Petunjuk Waktu Sholat | Ruang Server | bar: HARIAN 2
Fasilitas Masjid | Petunjuk Waktu Sholat | Skybridge Internasional | bar: HARIAN 2
Fasilitas Masjid | Sound System Masjid | Masjid Domestik | bar: HARIAN 2
Fasilitas Masjid | Sound System Masjid | Masjid Internasional | bar: HARIAN 2
Fasilitas Masjid | CCTV Masjid | Masjid Domestik | bar: HARIAN 2
Fasilitas Masjid | CCTV Masjid | Masjid Internasional | bar: HARIAN 2
Note on D119: value ruang server tidak di temukan

## GES T3 MINGGUAN
CATEGORY | JENIS PERANGKAT | AREA | HARIAN
|  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
Fire Alarm System | LCFA | LCFA Garuda, Circle K, Gate 5-9 | bar: HARIAN 7; HARIAN 14; HARIAN 21; HARIAN 28
Fire Alarm System | LCFA | LCFA Main Building Domestik | bar: HARIAN 7; HARIAN 14; HARIAN 21; HARIAN 28
Fire Alarm System | LCFA | LCFA Main Building Internasional | bar: HARIAN 8; HARIAN 15; HARIAN 22; HARIAN 29
Fire Alarm System | LCFA | LCFA Main Building VIP | bar: HARIAN 8; HARIAN 15; HARIAN 22; HARIAN 29
Fire Alarm System | LCFA | LCFA Parkir Domestik | bar: HARIAN 9; HARIAN 16; HARIAN 23; HARIAN 30
Fire Alarm System | LCFA | LCFA Parkir Internasional | bar: HARIAN 9; HARIAN 16; HARIAN 23; HARIAN 30
Fire Alarm System | LCFA | LCFA Perkantoran API | bar: HARIAN 1; HARIAN 8; HARIAN 15; HARIAN 22
Fire Alarm System | LCFA | LCFA Pier 1 Internasional | bar: HARIAN 1; HARIAN 8; HARIAN 15; HARIAN 22
Fire Alarm System | LCFA | LCFA Pier 2 Domestik | bar: HARIAN 2; HARIAN 9; HARIAN 16; HARIAN 23
Fire Alarm System | LCFA | MCFA | bar: HARIAN 2; HARIAN 9; HARIAN 16; HARIAN 23
Digital Media | Digital Banner | Arrival Domestik | bar: HARIAN 3; HARIAN 10; HARIAN 17; HARIAN 24
Digital Media | Digital Banner | Arrival Internasional | bar: HARIAN 3; HARIAN 10; HARIAN 17; HARIAN 24
Digital Media | Digital Banner | BCB Domestik | bar: HARIAN 4; HARIAN 11; HARIAN 18; HARIAN 25
Digital Media | Digital Banner | BL Domestik | bar: HARIAN 4; HARIAN 11; HARIAN 18; HARIAN 25
Digital Media | Digital Banner | BL Internasional | bar: HARIAN 5; HARIAN 12; HARIAN 19; HARIAN 26
Digital Media | Digital Banner | Check-in | bar: HARIAN 5; HARIAN 12; HARIAN 19; HARIAN 26
Digital Media | Digital Banner | Curbside | bar: HARIAN 6; HARIAN 13; HARIAN 20; HARIAN 27
Digital Media | Digital Banner | Plaza Domestik | bar: HARIAN 6; HARIAN 13; HARIAN 20; HARIAN 27
Digital Media | Digital Banner | SCP 2 Domestik | bar: HARIAN 7; HARIAN 14; HARIAN 21; HARIAN 28
Digital Media | Digital Banner | SCP 2 Internasional | bar: HARIAN 7; HARIAN 14; HARIAN 21; HARIAN 28
Digital Media | Running Text | Pier 2 Domestik | bar: HARIAN 8; HARIAN 15; HARIAN 22; HARIAN 29
Digital Media | Running Text | BL Domestik | bar: HARIAN 8; HARIAN 15; HARIAN 22; HARIAN 29
Digital Media | Running Text | BHS | bar: HARIAN 9; HARIAN 16; HARIAN 23; HARIAN 30
Digital Media | Running Text | BL Internasional | bar: HARIAN 9; HARIAN 16; HARIAN 23; HARIAN 30
Digital Media | Running Text | Parkir Domestik | bar: HARIAN 1; HARIAN 8; HARIAN 15; HARIAN 22
Digital Media | Running Text | Parkir Internasional | bar: HARIAN 1; HARIAN 8; HARIAN 15; HARIAN 22
Digital Media | Static Bigmaps | BCB Domestik | bar: HARIAN 2; HARIAN 9; HARIAN 16; HARIAN 23
Digital Media | Static Bigmaps | BCB Internasional | bar: HARIAN 2; HARIAN 9; HARIAN 16; HARIAN 23
Digital Media | Static Bigmaps | BL Domestik | bar: HARIAN 3; HARIAN 10; HARIAN 17; HARIAN 24
Digital Media | Static Bigmaps | BL Internasional | bar: HARIAN 3; HARIAN 10; HARIAN 17; HARIAN 24
Digital Media | Static Bigmaps | Check-in | bar: HARIAN 4; HARIAN 11; HARIAN 18; HARIAN 25
Digital Media | Static Bigmaps | Curbside | bar: HARIAN 4; HARIAN 11; HARIAN 18; HARIAN 25
Digital Media | Static Bigmaps | Plaza Domestik | bar: HARIAN 5; HARIAN 12; HARIAN 19; HARIAN 26
Digital Media | Static Bigmaps | SCP 2 Internasional | bar: HARIAN 5; HARIAN 12; HARIAN 19; HARIAN 26
Digital Media | Wayfinding | BL Internasional | bar: HARIAN 6; HARIAN 13; HARIAN 20; HARIAN 27
Digital Media | Wayfinding | BL Domestik | bar: HARIAN 6; HARIAN 13; HARIAN 20; HARIAN 27
Digital Media | Wayfinding | BCB Domestik | bar: HARIAN 7; HARIAN 14; HARIAN 21; HARIAN 28
Digital Media | Wayfinding | BCB Internasional | bar: HARIAN 7; HARIAN 14; HARIAN 21; HARIAN 28
Digital Media | Wayfinding | Arrival Domestik | bar: HARIAN 8; HARIAN 15; HARIAN 22; HARIAN 29
Digital Media | Wayfinding | Arrival Internasional | bar: HARIAN 8; HARIAN 15; HARIAN 22; HARIAN 29
Digital Media | Wayfinding | Skybridge Domestik | bar: HARIAN 9; HARIAN 16; HARIAN 23; HARIAN 30
Digital Media | Wayfinding | Skybridge Internasional | bar: HARIAN 9; HARIAN 16; HARIAN 23; HARIAN 30
Digital Media | Wayfinding | SCP 2 Domestik | bar: HARIAN 1; HARIAN 8; HARIAN 15; HARIAN 22
Digital Media | Wayfinding | SCP 2 Internasional | bar: HARIAN 1; HARIAN 8; HARIAN 15; HARIAN 22
Digital Media | Wayfinding | Plaza Domestik | bar: HARIAN 2; HARIAN 9; HARIAN 16; HARIAN 23
Digital Media | Wayfinding | Plaza Internasional | bar: HARIAN 2; HARIAN 9; HARIAN 16; HARIAN 23
Digital Media | Wayfinding | Check-in | bar: HARIAN 3; HARIAN 10; HARIAN 17; HARIAN 24
Digital Media | TV Hiburan | Pier 2 Domestik | bar: HARIAN 3; HARIAN 10; HARIAN 17; HARIAN 24
Digital Media | TV Informasi | Check-in | bar: HARIAN 4; HARIAN 11; HARIAN 18; HARIAN 25
Digital Media | Digital Signage | Pier 1 Internasional | bar: HARIAN 4; HARIAN 11; HARIAN 18; HARIAN 25
Digital Media | Digital Signage | BL Internasional | bar: HARIAN 5; HARIAN 12; HARIAN 19; HARIAN 26
Digital Media | Digital Signage | BL Domestik | bar: HARIAN 5; HARIAN 12; HARIAN 19; HARIAN 26
Digital Media | Digital Signage | Pier 2 Domestik | bar: HARIAN 6; HARIAN 13; HARIAN 20; HARIAN 27
Digital Media | Videotron | Parkir Domestik | bar: HARIAN 6; HARIAN 13; HARIAN 20; HARIAN 27
Digital Media | Videotron | Curbside | bar: HARIAN 7; HARIAN 14; HARIAN 21; HARIAN 28
IBMS / TCS / BAS | DDC | Apron | bar: HARIAN 7; HARIAN 14; HARIAN 21; HARIAN 28
IBMS / TCS / BAS | DDC | Arrival Domestik | bar: HARIAN 8; HARIAN 15; HARIAN 22; HARIAN 29
IBMS / TCS / BAS | DDC | Arrival Internasional | bar: HARIAN 8; HARIAN 15; HARIAN 22; HARIAN 29
IBMS / TCS / BAS | DDC | BCB Internasional | bar: HARIAN 9; HARIAN 16; HARIAN 23; HARIAN 30
IBMS / TCS / BAS | DDC | BL Domestik | bar: HARIAN 9; HARIAN 16; HARIAN 23; HARIAN 30
IBMS / TCS / BAS | DDC | BL Internasional | bar: HARIAN 1; HARIAN 8; HARIAN 15; HARIAN 22
IBMS / TCS / BAS | DDC | Check-in | bar: HARIAN 1; HARIAN 8; HARIAN 15; HARIAN 22
IBMS / TCS / BAS | DDC | Chiller Internasional | bar: HARIAN 2; HARIAN 9; HARIAN 16; HARIAN 23
IBMS / TCS / BAS | DDC | Gedung VIP | bar: HARIAN 2; HARIAN 9; HARIAN 16; HARIAN 23
IBMS / TCS / BAS | DDC | Parkir Domestik | bar: HARIAN 3; HARIAN 10; HARIAN 17; HARIAN 24
IBMS / TCS / BAS | DDC | Parkir Internasional | bar: HARIAN 3; HARIAN 10; HARIAN 17; HARIAN 24
IBMS / TCS / BAS | DDC | Pier 1 Internasional | bar: HARIAN 4; HARIAN 11; HARIAN 18; HARIAN 25
IBMS / TCS / BAS | DDC | Pier 2 Domestik | bar: HARIAN 4; HARIAN 11; HARIAN 18; HARIAN 25
Intercom dan CCTV Lift | Slave Intercom | Arrival Internasional | bar: HARIAN 5; HARIAN 12; HARIAN 19; HARIAN 26
Intercom dan CCTV Lift | Slave Intercom | BL Domestik | bar: HARIAN 5; HARIAN 12; HARIAN 19; HARIAN 26
Intercom dan CCTV Lift | Slave Intercom | BL Internasional | bar: HARIAN 6; HARIAN 13; HARIAN 20; HARIAN 27
Intercom dan CCTV Lift | Slave Intercom | Check-in | bar: HARIAN 6; HARIAN 13; HARIAN 20; HARIAN 27
Intercom dan CCTV Lift | Slave Intercom | Parkir Domestik | bar: HARIAN 7; HARIAN 14; HARIAN 21; HARIAN 28
Intercom dan CCTV Lift | Slave Intercom | Parkir Internasional | bar: HARIAN 7; HARIAN 14; HARIAN 21; HARIAN 28
Intercom dan CCTV Lift | Slave Intercom | Pier 1 Internasional | bar: HARIAN 8; HARIAN 15; HARIAN 22; HARIAN 29
Intercom dan CCTV Lift | Slave Intercom | Pier 2 Domestik | bar: HARIAN 8; HARIAN 15; HARIAN 22; HARIAN 29
Intercom dan CCTV Lift | Slave Intercom | Plaza Domestik | bar: HARIAN 9; HARIAN 16; HARIAN 23; HARIAN 30
Intercom dan CCTV Lift | Slave Intercom | Plaza Internasional | bar: HARIAN 9; HARIAN 16; HARIAN 23; HARIAN 30
Game Station | Game Station | BL Domestik | bar: HARIAN 1; HARIAN 8; HARIAN 15; HARIAN 22
Public Address System | Amplifier | BL Internasional | bar: HARIAN 1; HARIAN 8; HARIAN 15; HARIAN 22
Public Address System | Amplifier | BL Domestik | bar: HARIAN 2; HARIAN 9; HARIAN 16; HARIAN 23
Public Address System | Amplifier | Pier 2 Domestik | bar: HARIAN 2; HARIAN 9; HARIAN 16; HARIAN 23
Smart Airport | Smart Baggage | BCB Domestik | bar: HARIAN 3; HARIAN 10; HARIAN 17; HARIAN 24
Smart Airport | Smart Toilet | Arrival Domestik | bar: HARIAN 3; HARIAN 10; HARIAN 17; HARIAN 24
Smart Airport | Smart Toilet | Arrival Internasional | bar: HARIAN 4; HARIAN 11; HARIAN 18; HARIAN 25
Smart Airport | Smart Toilet | BL Domestik | bar: HARIAN 4; HARIAN 11; HARIAN 18; HARIAN 25
Smart Airport | Smart Toilet | BL Internasional | bar: HARIAN 5; HARIAN 12; HARIAN 19; HARIAN 26
Smart Airport | Smart Toilet | Check-in | bar: HARIAN 5; HARIAN 12; HARIAN 19; HARIAN 26
Smart Airport | Smart Toilet | Mezzanine Domestik | bar: HARIAN 6; HARIAN 13; HARIAN 20; HARIAN 27
Smart Airport | Smart Toilet | Mezzanine Internasional | bar: HARIAN 6; HARIAN 13; HARIAN 20; HARIAN 27
Smart Airport | Smart Toilet | Parkir Domestik | bar: HARIAN 7; HARIAN 14; HARIAN 21; HARIAN 28
Smart Airport | Smart Toilet | Parkir Internasional | bar: HARIAN 7; HARIAN 14; HARIAN 21; HARIAN 28
Smart Airport | Smart Toilet | Skybridge Domestik | bar: HARIAN 8; HARIAN 15; HARIAN 22; HARIAN 29
Smart Airport | Smart Toilet | Skybridge Internasional | bar: HARIAN 8; HARIAN 15; HARIAN 22; HARIAN 29
Smart Airport | VICA | Ruang Server | bar: HARIAN 9; HARIAN 16; HARIAN 23; HARIAN 30
Smart Airport | VICA | BL Internasional | bar: HARIAN 9; HARIAN 16; HARIAN 23; HARIAN 30
Smart Airport | VICA | BL Domestik | bar: HARIAN 1; HARIAN 8; HARIAN 15; HARIAN 22
Smart Airport | VICA | Arrival Domestik | bar: HARIAN 1; HARIAN 8; HARIAN 15; HARIAN 22
Smart Airport | VICA | Check-in | bar: HARIAN 2; HARIAN 9; HARIAN 16; HARIAN 23
Smart Airport | Smart Parkir | Parkir Internasional | bar: HARIAN 2; HARIAN 9; HARIAN 16; HARIAN 23
Smart Airport | Smart Parkir | Parkir Domestik | bar: HARIAN 3; HARIAN 10; HARIAN 17; HARIAN 24
Smart Airport | Smart Parkir | Ruang Server | bar: HARIAN 3; HARIAN 10; HARIAN 17; HARIAN 24
Smart Airport | CTF | Check-in | bar: HARIAN 4; HARIAN 11; HARIAN 18; HARIAN 25
Smart Airport | CTF | SCP 2 Internasional | bar: HARIAN 4; HARIAN 11; HARIAN 18; HARIAN 25
Smart Airport | CTF | SCP 2 Domestik | bar: HARIAN 5; HARIAN 12; HARIAN 19; HARIAN 26
Smart Airport | CTF | BCB Domestik | bar: HARIAN 5; HARIAN 12; HARIAN 19; HARIAN 26
Smart Airport | CTF | BCB Internasional | bar: HARIAN 6; HARIAN 13; HARIAN 20; HARIAN 27
Telepon | Pesawat Telepon | Apron | bar: HARIAN 6; HARIAN 13; HARIAN 20; HARIAN 27
Telepon | Pesawat Telepon | Arrival Domestik | bar: HARIAN 7; HARIAN 14; HARIAN 21; HARIAN 28
Telepon | Pesawat Telepon | Arrival Internasional | bar: HARIAN 7; HARIAN 14; HARIAN 21; HARIAN 28
Telepon | Pesawat Telepon | Bhs | bar: HARIAN 8; HARIAN 15; HARIAN 22; HARIAN 29
Telepon | Pesawat Telepon | BL Domestik | bar: HARIAN 8; HARIAN 15; HARIAN 22; HARIAN 29
Telepon | Pesawat Telepon | BL Internasional | bar: HARIAN 9; HARIAN 16; HARIAN 23; HARIAN 30
Telepon | Pesawat Telepon | Check-in | bar: HARIAN 9; HARIAN 16; HARIAN 23; HARIAN 30
Telepon | Pesawat Telepon | Gedung VIP | bar: HARIAN 1; HARIAN 8; HARIAN 15; HARIAN 22
Telepon | Pesawat Telepon | Mezzanine Internasional | bar: HARIAN 1; HARIAN 8; HARIAN 15; HARIAN 22
Telepon | Pesawat Telepon | Perkantoran Domestik | bar: HARIAN 2; HARIAN 9; HARIAN 16; HARIAN 23
Telepon | Pesawat Telepon | Perkantoran Internasional | bar: HARIAN 2; HARIAN 9; HARIAN 16; HARIAN 23
Telepon | Pesawat Telepon | Pier 1 Internasional | bar: HARIAN 3; HARIAN 10; HARIAN 17; HARIAN 24
Telepon | Pesawat Telepon | Pier 2 Domestik | bar: HARIAN 3; HARIAN 10; HARIAN 17; HARIAN 24
Telepon | Pesawat Telepon | Plaza Domestik | bar: HARIAN 4; HARIAN 11; HARIAN 18; HARIAN 25
Telepon | Pesawat Telepon | SCP 2 Domestik | bar: HARIAN 4; HARIAN 11; HARIAN 18; HARIAN 25
Telepon | PC Server PABX | Ruang Server | bar: HARIAN 5; HARIAN 12; HARIAN 19; HARIAN 26
Time Distribution System | Master Clock | Check-in | bar: HARIAN 5; HARIAN 12; HARIAN 19; HARIAN 26
Time Distribution System | Master Clock | Perkantoran Domestik | bar: HARIAN 6; HARIAN 13; HARIAN 20; HARIAN 27
Time Distribution System | Master Clock | Gedung VIP | bar: HARIAN 6; HARIAN 13; HARIAN 20; HARIAN 27
Fasilitas Masjid | Petunjuk Waktu Sholat | Arrival Domestik | bar: HARIAN 7; HARIAN 14; HARIAN 21; HARIAN 28
Fasilitas Masjid | Petunjuk Waktu Sholat | Arrival Internasional | bar: HARIAN 7; HARIAN 14; HARIAN 21; HARIAN 28
Fasilitas Masjid | Petunjuk Waktu Sholat | BL Domestik | bar: HARIAN 8; HARIAN 15; HARIAN 22; HARIAN 29
Fasilitas Masjid | Petunjuk Waktu Sholat | BL Internasional | bar: HARIAN 8; HARIAN 15; HARIAN 22; HARIAN 29
Fasilitas Masjid | Petunjuk Waktu Sholat | Check-in | bar: HARIAN 9; HARIAN 16; HARIAN 23; HARIAN 30
Fasilitas Masjid | Petunjuk Waktu Sholat | Gedung VIP | bar: HARIAN 9; HARIAN 16; HARIAN 23; HARIAN 30
Fasilitas Masjid | Petunjuk Waktu Sholat | Masjid Domestik | bar: HARIAN 1; HARIAN 8; HARIAN 15; HARIAN 22
Fasilitas Masjid | Petunjuk Waktu Sholat | Masjid Internasional | bar: HARIAN 1; HARIAN 8; HARIAN 15; HARIAN 22
Fasilitas Masjid | Petunjuk Waktu Sholat | Pier 2 Domestik | bar: HARIAN 2; HARIAN 9; HARIAN 16; HARIAN 23
Fasilitas Masjid | Petunjuk Waktu Sholat | Ruang Server | bar: HARIAN 2; HARIAN 9; HARIAN 16; HARIAN 23
Fasilitas Masjid | Petunjuk Waktu Sholat | Skybridge Internasional | bar: HARIAN 3; HARIAN 10; HARIAN 17; HARIAN 24
Fasilitas Masjid | Sound System Masjid | Masjid Domestik | bar: HARIAN 3; HARIAN 10; HARIAN 17; HARIAN 24
Fasilitas Masjid | Sound System Masjid | Masjid Internasional | bar: HARIAN 4; HARIAN 11; HARIAN 18; HARIAN 25
Fasilitas Masjid | CCTV Masjid | Masjid Domestik | bar: HARIAN 4; HARIAN 11; HARIAN 18; HARIAN 25
Fasilitas Masjid | CCTV Masjid | Masjid Internasional | bar: HARIAN 5; HARIAN 12; HARIAN 19; HARIAN 26
Note on D105: value ruang server tidak di temukan value ruang server tidak di temukan value ruang server tidak di temukan value ruang server tidak di temukan value ruang server tidak di temukan value ruang server tidak di temukan value ruang server tidak di temukan value ruang server tidak di temukan

## GES T3 BULANAN
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32
CATEGORY | JENIS PERANGKAT | AREA | JANUARI,APRIL,JULI,OKTOBER | [9 empty] | FEBRUARI,MEI,AGUSTUS,NOVEMBER | [8 empty] | MARET,JUNI,SEPTEMBER,DESEMBER
|  |  | 2 | 4 | 6 | 8 | 14 | 16 | 18 | 24 | 26 | 30 | 4 | 6 | 8 | 14 | 16 | 18 | 24 | 26 | 30 | 4 | 6 | 8 | 14 | 16 | 18 | 24 | 26 | 28 | 30
Fire Alarm System | PC Monitoring FAS | Ruang Server |  |  |  | PS | [8 empty] | PS | [8 empty] | PS
Digital Media | Digital Banner | Arrival Domestik |  |  |  | M | [8 empty] | M | [8 empty] | M
Digital Media | Digital Banner | Arrival Internasional |  |  |  | M | [8 empty] | M | [8 empty] | M
Digital Media | Digital Banner | BCB Domestik |  |  |  | M | [8 empty] | M | [8 empty] | M
Digital Media | Digital Banner | BL Domestik |  |  |  |  | PS | [8 empty] | PS | [8 empty] | PS
Digital Media | Digital Banner | BL Internasional |  |  |  |  | PS | [8 empty] | PS | [8 empty] | PS
Digital Media | Digital Banner | Check-in |  |  |  |  | PS | [8 empty] | PS | [8 empty] | PS
Digital Media | Digital Banner | Curbside |  |  |  |  | M | [8 empty] | M | [8 empty] | M
Digital Media | Digital Banner | Plaza Domestik |  |  |  |  | M | [8 empty] | M | [8 empty] | M
Digital Media | Digital Banner | SCP 2 Domestik |  |  |  |  | M | [8 empty] | M | [8 empty] | M
Digital Media | Digital Banner | SCP 2 Internasional | [5 empty] | PS | [8 empty] | PS | [8 empty] | PS
Digital Media | Running Text | Pier 2 Domestik | [5 empty] | PS | [8 empty] | PS | [8 empty] | PS
Digital Media | Running Text | BL Domestik | [5 empty] | PS | [8 empty] | PS | [8 empty] | PS
Digital Media | Running Text | BHS | [5 empty] | M | [8 empty] | M | [8 empty] | M
Digital Media | Running Text | BL Internasional | [5 empty] | M | [8 empty] | M | [8 empty] | M
Digital Media | Running Text | Parkir Domestik | [5 empty] | M | [8 empty] | M | [8 empty] | M
Digital Media | Running Text | Parkir Internasional | [6 empty] | PS | [8 empty] | PS | [8 empty] | PS
Digital Media | Static Bigmaps | BCB Domestik | [6 empty] | PS | [8 empty] | PS | [8 empty] | PS
Digital Media | Static Bigmaps | BCB Internasional | [6 empty] | PS | [8 empty] | PS | [8 empty] | PS
Digital Media | Static Bigmaps | BL Domestik | [6 empty] | M | [8 empty] | M | [8 empty] | M
Digital Media | Static Bigmaps | BL Internasional | [6 empty] | M | [8 empty] | M | [8 empty] | M
Digital Media | Static Bigmaps | Check-in | [6 empty] | M | [8 empty] | M | [8 empty] | M
Digital Media | Static Bigmaps | Curbside | [7 empty] | PS | [8 empty] | PS | [8 empty] | PS
Digital Media | Static Bigmaps | Plaza Domestik | [7 empty] | PS | [8 empty] | PS | [8 empty] | PS
Digital Media | Static Bigmaps | SCP 2 Internasional | [7 empty] | PS | [8 empty] | PS | [8 empty] | PS
Digital Media | Wayfinding | BL Internasional | [7 empty] | M | [8 empty] | M | [8 empty] | M
Digital Media | Wayfinding | BL Domestik | [7 empty] | M | [8 empty] | M | [8 empty] | M
Digital Media | Wayfinding | BCB Domestik | [7 empty] | M | [8 empty] | M | [8 empty] | M
Digital Media | Wayfinding | BCB Internasional | [8 empty] | PS | [8 empty] | PS | [8 empty] | PS
Digital Media | Wayfinding | Arrival Domestik | [8 empty] | PS | [8 empty] | PS | [8 empty] | PS
Digital Media | Wayfinding | Arrival Internasional | [8 empty] | PS | [8 empty] | PS | [8 empty] | PS
Digital Media | Wayfinding | Skybridge Domestik | [8 empty] | M | [8 empty] | M | [8 empty] | M
Digital Media | Wayfinding | Skybridge Internasional | [8 empty] | M | [8 empty] | M | [8 empty] | M
Digital Media | Wayfinding | SCP 2 Domestik | [8 empty] | M | [8 empty] | M | [8 empty] | M
Digital Media | Wayfinding | SCP 2 Internasional | [9 empty] | PS | [8 empty] | PS | [8 empty] | PS
Digital Media | Wayfinding | Plaza Domestik | [9 empty] | PS | [8 empty] | PS | [8 empty] | PS
Digital Media | Wayfinding | Plaza Internasional | [9 empty] | PS | [8 empty] | PS | [8 empty] | PS
Digital Media | Wayfinding | Check-in | [9 empty] | M | [8 empty] | M | [8 empty] | M
Digital Media | TV Hiburan | Pier 2 Domestik | [9 empty] | M | [8 empty] | M | [8 empty] | M
Digital Media | TV Informasi | Check-in | [9 empty] | M | [8 empty] | M | [8 empty] | M
Digital Media | Digital Signage | Pier 1 Internasional | PS | [8 empty] | PS | [8 empty] | PS
Digital Media | Digital Signage | BL Internasional | PS | [8 empty] | PS | [8 empty] | PS
Digital Media | Digital Signage | BL Domestik | PS | [8 empty] | PS | [8 empty] | PS
Digital Media | Digital Signage | Pier 2 Domestik | M | [8 empty] | M | [8 empty] | M
Digital Media | Videotron | Parkir Domestik | M | [8 empty] | M | [8 empty] | M
Digital Media | Videotron | Curbside | M | [8 empty] | M | [8 empty] | M
IBMS / TCS / BAS | PC Monitoring IBMS | Ruang Server |  | PS | [8 empty] | PS | [8 empty] | PS
IBMS / TCS / BAS | PC Monitoring IBMS | Perkantoran Domestik |  | PS | [8 empty] | PS | [8 empty] | PS
IBMS / TCS / BAS | PC Server IBMS | Ruang Server |  | PS | [8 empty] | PS | [8 empty] | PS
Intercom dan CCTV Lift | Slave Intercom | Arrival Internasional |  | M | [8 empty] | M | [8 empty] | M
Intercom dan CCTV Lift | Slave Intercom | BL Domestik |  | M | [8 empty] | M | [8 empty] | M
Intercom dan CCTV Lift | Slave Intercom | BL Internasional |  | M | [8 empty] | M | [8 empty] | M
Intercom dan CCTV Lift | Slave Intercom | Check-in |  |  | PS | [8 empty] | PS | [8 empty] | PS
Intercom dan CCTV Lift | Slave Intercom | Parkir Domestik |  |  | PS | [8 empty] | PS | [8 empty] | PS
Intercom dan CCTV Lift | Slave Intercom | Parkir Internasional |  |  | PS | [8 empty] | PS | [8 empty] | PS
Intercom dan CCTV Lift | Slave Intercom | Pier 1 Internasional |  |  | M | [8 empty] | M | [8 empty] | M
Intercom dan CCTV Lift | Slave Intercom | Pier 2 Domestik |  |  | M | [8 empty] | M | [8 empty] | M
Intercom dan CCTV Lift | Slave Intercom | Plaza Domestik |  |  | M | [8 empty] | M | [8 empty] | M
Intercom dan CCTV Lift | Slave Intercom | Plaza Internasional |  |  |  | PS | [8 empty] | PS | [8 empty] | PS
Intercom dan CCTV Lift | CCTV Lift | Arrival Domestik |  |  |  | PS | [8 empty] | PS | [8 empty] | PS
Intercom dan CCTV Lift | CCTV Lift | Arrival Internasional |  |  |  | PS | [8 empty] | PS | [8 empty] | PS
Intercom dan CCTV Lift | CCTV Lift | BL Domestik |  |  |  | M | [8 empty] | M | [8 empty] | M
Intercom dan CCTV Lift | CCTV Lift | BL Internasional |  |  |  | M | [8 empty] | M | [8 empty] | M
Intercom dan CCTV Lift | CCTV Lift | Check-in |  |  |  | M | [8 empty] | M | [8 empty] | M
Intercom dan CCTV Lift | CCTV Lift | Parkir Domestik |  |  |  |  | PS | [8 empty] | PS | [8 empty] | PS
Intercom dan CCTV Lift | CCTV Lift | Parkir Internasional |  |  |  |  | PS | [8 empty] | PS | [8 empty] | PS
Intercom dan CCTV Lift | CCTV Lift | Pier 1 Internasional |  |  |  |  | PS | [8 empty] | PS | [8 empty] | PS
Intercom dan CCTV Lift | CCTV Lift | Pier 2 Domestik |  |  |  |  | M | [8 empty] | M | [8 empty] | M
Intercom dan CCTV Lift | CCTV Lift | Plaza Domestik |  |  |  |  | M | [8 empty] | M | [8 empty] | M
Intercom dan CCTV Lift | CCTV Lift | Plaza Internasional |  |  |  |  | M | [8 empty] | M | [8 empty] | M
Game Station | Game Station | BL Domestik | [5 empty] | PS | [8 empty] | PS | [8 empty] | PS
Public Address System | Microphone | BL Internasional | [5 empty] | PS | [8 empty] | PS | [8 empty] | PS
Public Address System | Microphone | Pier 1 Internasional | [5 empty] | PS | [8 empty] | PS | [8 empty] | PS
Smart Airport | Smart Baggage | BCB Domestik | [5 empty] | M | [8 empty] | M | [8 empty] | M
Smart Airport | Smart Toilet | Arrival Domestik | [5 empty] | M | [8 empty] | M | [8 empty] | M
Smart Airport | Smart Toilet | Arrival Internasional | [5 empty] | M | [8 empty] | M | [8 empty] | M
Smart Airport | Smart Toilet | BL Domestik | [6 empty] | PS | [8 empty] | PS | [8 empty] | PS
Smart Airport | Smart Toilet | BL Internasional | [6 empty] | PS | [8 empty] | PS | [8 empty] | PS
Smart Airport | Smart Toilet | Check-in | [6 empty] | PS | [8 empty] | PS | [8 empty] | PS
Smart Airport | Smart Toilet | Mezzanine Domestik | [6 empty] | M | [8 empty] | M | [8 empty] | M
Smart Airport | Smart Toilet | Mezzanine Internasional | [6 empty] | M | [8 empty] | M | [8 empty] | M
Smart Airport | Smart Toilet | Parkir Domestik | [6 empty] | M | [8 empty] | M | [8 empty] | M
Smart Airport | Smart Toilet | Parkir Internasional | [7 empty] | PS | [8 empty] | PS | [8 empty] | PS
Smart Airport | Smart Toilet | Skybridge Domestik | [7 empty] | PS | [8 empty] | PS | [8 empty] | PS
Smart Airport | Smart Toilet | Skybridge Internasional | [7 empty] | PS | [8 empty] | PS | [8 empty] | PS
Smart Airport | VICA | Ruang Server | [7 empty] | M | [8 empty] | M | [8 empty] | M
Smart Airport | VICA | BL Internasional | [7 empty] | M | [8 empty] | M | [8 empty] | M
Smart Airport | VICA | BL Domestik | [7 empty] | M | [8 empty] | M | [8 empty] | M
Smart Airport | VICA | Arrival Domestik | [8 empty] | PS | [8 empty] | PS | [8 empty] | PS
Smart Airport | VICA | Check-in | [8 empty] | PS | [8 empty] | PS | [8 empty] | PS
Smart Airport | Smart Parkir | Parkir Internasional | [8 empty] | PS | [8 empty] | PS | [8 empty] | PS
Smart Airport | Smart Parkir | Parkir Domestik | [8 empty] | M | [8 empty] | M | [8 empty] | M
Smart Airport | Smart Parkir | Ruang Server | [8 empty] | M | [8 empty] | M | [8 empty] | M
Smart Airport | CTF | Check-in | [8 empty] | M | [8 empty] | M | [8 empty] | M
Smart Airport | CTF | SCP 2 Internasional | [9 empty] | PS | [8 empty] | PS | [8 empty] | PS
Smart Airport | CTF | SCP 2 Domestik | [9 empty] | PS | [8 empty] | PS | [8 empty] | PS
Smart Airport | CTF | BCB Domestik | [9 empty] | PS | [8 empty] | PS | [8 empty] | PS
Smart Airport | CTF | BCB Internasional | [9 empty] | M | [8 empty] | M | [8 empty] | M
Telepon | Pesawat Telepon | Apron | [9 empty] | M | [8 empty] | M | [8 empty] | M
Telepon | Pesawat Telepon | Arrival Domestik | [9 empty] | M | [8 empty] | M | [8 empty] | M
Telepon | Pesawat Telepon | Arrival Internasional | [10 empty] | PS | [8 empty] | PS | [8 empty] | PS
Telepon | Pesawat Telepon | Bhs | [10 empty] | PS | [8 empty] | PS | [8 empty] | PS
Telepon | Pesawat Telepon | BL Domestik | [10 empty] | PS | [8 empty] | PS | [8 empty] | PS
Telepon | Pesawat Telepon | BL Internasional | [10 empty] | M | [8 empty] | M | [8 empty] | M
Telepon | Pesawat Telepon | Check-in | [10 empty] | M | [8 empty] | M | [8 empty] | M
Telepon | Pesawat Telepon | Gedung VIP | [10 empty] | M | [8 empty] | M | [8 empty] | M
Telepon | Pesawat Telepon | Mezzanine Internasional | PS | [8 empty] | PS | [8 empty] | PS
Telepon | Pesawat Telepon | Perkantoran Domestik | PS | [8 empty] | PS | [8 empty] | PS
Telepon | Pesawat Telepon | Perkantoran Internasional | PS | [8 empty] | PS | [8 empty] | PS
Telepon | Pesawat Telepon | Pier 1 Internasional | M | [8 empty] | M | [8 empty] | M
Telepon | Pesawat Telepon | Pier 2 Domestik | M | [8 empty] | M | [8 empty] | M
Telepon | Pesawat Telepon | Plaza Domestik | M | [8 empty] | M | [8 empty] | M
Telepon | Pesawat Telepon | SCP 2 Domestik |  | PS | [8 empty] | PS | [8 empty] | PS
Fasilitas Masjid | Petunjuk Waktu Sholat | Arrival Domestik |  | PS | [8 empty] | PS | [8 empty] | PS
Fasilitas Masjid | Petunjuk Waktu Sholat | Arrival Internasional |  | PS | [8 empty] | PS | [8 empty] | PS
Fasilitas Masjid | Petunjuk Waktu Sholat | BL Domestik |  | M | [8 empty] | M | [8 empty] | M
Fasilitas Masjid | Petunjuk Waktu Sholat | BL Internasional |  | M | [8 empty] | M | [8 empty] | M
Fasilitas Masjid | Petunjuk Waktu Sholat | Check-in |  | M | [8 empty] | M | [8 empty] | M
Fasilitas Masjid | Petunjuk Waktu Sholat | Gedung VIP |  |  | PS | [8 empty] | PS | [8 empty] | PS
Fasilitas Masjid | Petunjuk Waktu Sholat | Masjid Domestik |  |  | PS | [8 empty] | PS | [8 empty] | PS
Fasilitas Masjid | Petunjuk Waktu Sholat | Masjid Internasional |  |  | PS | [8 empty] | PS | [8 empty] | PS
Fasilitas Masjid | Petunjuk Waktu Sholat | Pier 2 Domestik |  |  | M | [8 empty] | M | [8 empty] | M
Fasilitas Masjid | Petunjuk Waktu Sholat | Ruang Server |  |  | M | [8 empty] | M | [8 empty] | M
Fasilitas Masjid | Petunjuk Waktu Sholat | Skybridge Internasional |  |  | M | [8 empty] | M | [8 empty] | M
Fasilitas Masjid | Sound System Masjid | Masjid Domestik |  |  |  | PS | [8 empty] | PS | [8 empty] | PS
Fasilitas Masjid | Sound System Masjid | Masjid Internasional |  |  |  | PS | [8 empty] | PS | [8 empty] | PS
Fasilitas Masjid | CCTV Masjid | Masjid Domestik |  |  |  | PS | [8 empty] | PS | [8 empty] | PS
Fasilitas Masjid | CCTV Masjid | Masjid Internasional |  |  |  | M | [8 empty] | M | [8 empty] | M
Note on D116: value scp2 domestik tidak di temukan value scp2 domestik tidak di temukan value scp2 domestik tidak di temukan
Note on D96: value ruang server tidak di temukan value ruang server tidak di temukan value ruang server tidak di temukan

## GES T3 TRIWULANAN
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34
CATEGORY | JENIS PERANGKAT | AREA | JANUARI,APRIL,JULI,OKTOBER | [10 empty] | FEBRUARI,MEI,AGUSTUS,NOVEMBER | [9 empty] | MARET,JUNI,SEPTEMBER,DESEMBER
|  |  | 1 | 3 | 6 | 9 | 12 | 15 | 18 | 21 | 24 | 27 | 30 | 3 | 6 | 9 | 12 | 15 | 18 | 21 | 24 | 27 | 30 | 3 | 6 | 9 | 12 | 15 | 18 | 21 | 24 | 27 | 30
Digital Media | Digital Banner | Arrival Domestik | bar: JANUARI,APRIL,JULI,OKTOBER 9
Digital Media | Digital Banner | Arrival Internasional | bar: JANUARI,APRIL,JULI,OKTOBER 9
Digital Media | Digital Banner | BCB Domestik | bar: JANUARI,APRIL,JULI,OKTOBER 9
Digital Media | Digital Banner | BL Domestik | bar: JANUARI,APRIL,JULI,OKTOBER 12
Digital Media | Digital Banner | BL Internasional | bar: JANUARI,APRIL,JULI,OKTOBER 12
Digital Media | Digital Banner | Check-in | bar: JANUARI,APRIL,JULI,OKTOBER 12
Digital Media | Digital Banner | Curbside | bar: JANUARI,APRIL,JULI,OKTOBER 12
Digital Media | Digital Banner | Plaza Domestik | bar: JANUARI,APRIL,JULI,OKTOBER 12
Digital Media | Digital Banner | SCP 2 Domestik | bar: JANUARI,APRIL,JULI,OKTOBER 12
Digital Media | Digital Banner | SCP 2 Internasional | bar: JANUARI,APRIL,JULI,OKTOBER 15
Digital Media | Running Text | Pier 2 Domestik | bar: JANUARI,APRIL,JULI,OKTOBER 15
Digital Media | Running Text | BL Domestik | bar: JANUARI,APRIL,JULI,OKTOBER 15
Digital Media | Running Text | BHS | bar: JANUARI,APRIL,JULI,OKTOBER 15
Digital Media | Running Text | BL Internasional | bar: JANUARI,APRIL,JULI,OKTOBER 15
Digital Media | Running Text | Parkir Domestik | bar: JANUARI,APRIL,JULI,OKTOBER 15
Digital Media | Running Text | Parkir Internasional | bar: JANUARI,APRIL,JULI,OKTOBER 18
Digital Media | Static Bigmaps | BCB Domestik | bar: JANUARI,APRIL,JULI,OKTOBER 18
Digital Media | Static Bigmaps | BCB Internasional | bar: JANUARI,APRIL,JULI,OKTOBER 18
Digital Media | Static Bigmaps | BL Domestik | bar: JANUARI,APRIL,JULI,OKTOBER 18
Digital Media | Static Bigmaps | BL Internasional | bar: JANUARI,APRIL,JULI,OKTOBER 18
Digital Media | Static Bigmaps | Check-in | bar: JANUARI,APRIL,JULI,OKTOBER 18
Digital Media | Static Bigmaps | Curbside | bar: JANUARI,APRIL,JULI,OKTOBER 21
Digital Media | Static Bigmaps | Plaza Domestik | bar: JANUARI,APRIL,JULI,OKTOBER 21
Digital Media | Static Bigmaps | SCP 2 Internasional | bar: JANUARI,APRIL,JULI,OKTOBER 21
Digital Media | Wayfinding | BL Internasional | bar: JANUARI,APRIL,JULI,OKTOBER 21
Digital Media | Wayfinding | BL Domestik | bar: JANUARI,APRIL,JULI,OKTOBER 21
Digital Media | Wayfinding | BCB Domestik | bar: JANUARI,APRIL,JULI,OKTOBER 21
Digital Media | Wayfinding | BCB Internasional | bar: JANUARI,APRIL,JULI,OKTOBER 24
Digital Media | Wayfinding | Arrival Domestik | bar: JANUARI,APRIL,JULI,OKTOBER 24
Digital Media | Wayfinding | Arrival Internasional | bar: JANUARI,APRIL,JULI,OKTOBER 24
Digital Media | Wayfinding | Skybridge Domestik | bar: JANUARI,APRIL,JULI,OKTOBER 24
Digital Media | Wayfinding | Skybridge Internasional | bar: JANUARI,APRIL,JULI,OKTOBER 24
Digital Media | Wayfinding | SCP 2 Domestik | bar: JANUARI,APRIL,JULI,OKTOBER 24
Digital Media | Wayfinding | SCP 2 Internasional | bar: JANUARI,APRIL,JULI,OKTOBER 27
Digital Media | Wayfinding | Plaza Domestik | bar: JANUARI,APRIL,JULI,OKTOBER 27
Digital Media | Wayfinding | Plaza Internasional | bar: JANUARI,APRIL,JULI,OKTOBER 27
Digital Media | Wayfinding | Check-in | bar: JANUARI,APRIL,JULI,OKTOBER 27
Digital Media | TV Hiburan | Pier 2 Domestik | bar: JANUARI,APRIL,JULI,OKTOBER 27
Digital Media | TV Informasi | Check-in | bar: JANUARI,APRIL,JULI,OKTOBER 27
Digital Media | Digital Signage | Pier 1 Internasional | bar: JANUARI,APRIL,JULI,OKTOBER 30
Digital Media | Digital Signage | BL Internasional | bar: JANUARI,APRIL,JULI,OKTOBER 30
Digital Media | Digital Signage | BL Domestik | bar: JANUARI,APRIL,JULI,OKTOBER 30
Digital Media | Digital Signage | Pier 2 Domestik | bar: JANUARI,APRIL,JULI,OKTOBER 30
Digital Media | Videotron | Parkir Domestik | bar: JANUARI,APRIL,JULI,OKTOBER 30
Digital Media | Videotron | Curbside | bar: JANUARI,APRIL,JULI,OKTOBER 30
IBMS / TCS / BAS | DDC | Apron | bar: FEBRUARI,MEI,AGUSTUS,NOVEMBER 3
IBMS / TCS / BAS | DDC | Arrival Domestik | bar: FEBRUARI,MEI,AGUSTUS,NOVEMBER 3
IBMS / TCS / BAS | DDC | Arrival Internasional | bar: FEBRUARI,MEI,AGUSTUS,NOVEMBER 3
IBMS / TCS / BAS | DDC | BCB Internasional | bar: FEBRUARI,MEI,AGUSTUS,NOVEMBER 3
IBMS / TCS / BAS | DDC | BL Domestik | bar: FEBRUARI,MEI,AGUSTUS,NOVEMBER 3
IBMS / TCS / BAS | DDC | BL Internasional | bar: FEBRUARI,MEI,AGUSTUS,NOVEMBER 3
IBMS / TCS / BAS | DDC | Check-in | bar: FEBRUARI,MEI,AGUSTUS,NOVEMBER 6
IBMS / TCS / BAS | DDC | Chiller Internasional | bar: FEBRUARI,MEI,AGUSTUS,NOVEMBER 6
IBMS / TCS / BAS | DDC | Gedung VIP | bar: FEBRUARI,MEI,AGUSTUS,NOVEMBER 6
IBMS / TCS / BAS | DDC | Parkir Domestik | bar: FEBRUARI,MEI,AGUSTUS,NOVEMBER 6
IBMS / TCS / BAS | DDC | Parkir Internasional | bar: FEBRUARI,MEI,AGUSTUS,NOVEMBER 6
IBMS / TCS / BAS | DDC | Pier 1 Internasional | bar: FEBRUARI,MEI,AGUSTUS,NOVEMBER 6
IBMS / TCS / BAS | DDC | Pier 2 Domestik | bar: FEBRUARI,MEI,AGUSTUS,NOVEMBER 9
IBMS / TCS / BAS | PC Server IBMS | Ruang Server | bar: FEBRUARI,MEI,AGUSTUS,NOVEMBER 9
Intercom dan CCTV Lift | Master Intercom | Ruang Server | bar: FEBRUARI,MEI,AGUSTUS,NOVEMBER 15
Intercom dan CCTV Lift | Master Intercom | Perkantoran Domestik | bar: FEBRUARI,MEI,AGUSTUS,NOVEMBER 15
Game Station | Game Station | BL Domestik | bar: FEBRUARI,MEI,AGUSTUS,NOVEMBER 21
Public Address System | Amplifier | BL Internasional | bar: FEBRUARI,MEI,AGUSTUS,NOVEMBER 21
Public Address System | Amplifier | BL Domestik | bar: FEBRUARI,MEI,AGUSTUS,NOVEMBER 24
Public Address System | Amplifier | Pier 2 Domestik | bar: FEBRUARI,MEI,AGUSTUS,NOVEMBER 24
Smart Airport | Smart Baggage | BCB Domestik | bar: FEBRUARI,MEI,AGUSTUS,NOVEMBER 27
Smart Airport | Smart Toilet | Arrival Domestik | bar: FEBRUARI,MEI,AGUSTUS,NOVEMBER 27
Smart Airport | Smart Toilet | Arrival Internasional | bar: FEBRUARI,MEI,AGUSTUS,NOVEMBER 27
Smart Airport | Smart Toilet | BL Domestik | bar: FEBRUARI,MEI,AGUSTUS,NOVEMBER 30
Smart Airport | Smart Toilet | BL Internasional | bar: FEBRUARI,MEI,AGUSTUS,NOVEMBER 30
Smart Airport | Smart Toilet | Check-in | bar: FEBRUARI,MEI,AGUSTUS,NOVEMBER 30
Smart Airport | Smart Toilet | Mezzanine Domestik | bar: FEBRUARI,MEI,AGUSTUS,NOVEMBER 30
Smart Airport | Smart Toilet | Mezzanine Internasional | bar: FEBRUARI,MEI,AGUSTUS,NOVEMBER 30
Smart Airport | Smart Toilet | Parkir Domestik | bar: FEBRUARI,MEI,AGUSTUS,NOVEMBER 30
Smart Airport | Smart Toilet | Parkir Internasional | bar: MARET,JUNI,SEPTEMBER,DESEMBER 3
Smart Airport | Smart Toilet | Skybridge Domestik | bar: MARET,JUNI,SEPTEMBER,DESEMBER 3
Smart Airport | Smart Toilet | Skybridge Internasional | bar: MARET,JUNI,SEPTEMBER,DESEMBER 3
Smart Airport | VICA | Ruang Server | bar: MARET,JUNI,SEPTEMBER,DESEMBER 3
Smart Airport | VICA | BL Internasional | bar: MARET,JUNI,SEPTEMBER,DESEMBER 3
Smart Airport | VICA | BL Domestik | bar: MARET,JUNI,SEPTEMBER,DESEMBER 3
Smart Airport | VICA | Arrival Domestik | bar: MARET,JUNI,SEPTEMBER,DESEMBER 6
Smart Airport | VICA | Check-in | bar: MARET,JUNI,SEPTEMBER,DESEMBER 6
Smart Airport | Smart Parkir | Parkir Internasional | bar: MARET,JUNI,SEPTEMBER,DESEMBER 6
Smart Airport | Smart Parkir | Parkir Domestik | bar: MARET,JUNI,SEPTEMBER,DESEMBER 6
Smart Airport | Smart Parkir | Ruang Server | bar: MARET,JUNI,SEPTEMBER,DESEMBER 6
Smart Airport | CTF | Check-in | bar: MARET,JUNI,SEPTEMBER,DESEMBER 6
Smart Airport | CTF | SCP 2 Internasional | bar: MARET,JUNI,SEPTEMBER,DESEMBER 9
Smart Airport | CTF | SCP 2 Domestik | bar: MARET,JUNI,SEPTEMBER,DESEMBER 9
Smart Airport | CTF | BCB Domestik | bar: MARET,JUNI,SEPTEMBER,DESEMBER 9
Smart Airport | CTF | BCB Internasional | bar: MARET,JUNI,SEPTEMBER,DESEMBER 9
Telepon | Pesawat Telepon | Apron | bar: MARET,JUNI,SEPTEMBER,DESEMBER 9
Telepon | Pesawat Telepon | Arrival Domestik | bar: MARET,JUNI,SEPTEMBER,DESEMBER 9
Telepon | Pesawat Telepon | Arrival Internasional | bar: MARET,JUNI,SEPTEMBER,DESEMBER 12
Telepon | Pesawat Telepon | Bhs | bar: MARET,JUNI,SEPTEMBER,DESEMBER 12
Telepon | Pesawat Telepon | BL Domestik | bar: MARET,JUNI,SEPTEMBER,DESEMBER 12
Telepon | Pesawat Telepon | BL Internasional | bar: MARET,JUNI,SEPTEMBER,DESEMBER 12
Telepon | Pesawat Telepon | Check-in | bar: MARET,JUNI,SEPTEMBER,DESEMBER 12
Telepon | Pesawat Telepon | Gedung VIP | bar: MARET,JUNI,SEPTEMBER,DESEMBER 12
Telepon | Pesawat Telepon | Mezzanine Internasional | bar: MARET,JUNI,SEPTEMBER,DESEMBER 15
Telepon | Pesawat Telepon | Perkantoran Domestik | bar: MARET,JUNI,SEPTEMBER,DESEMBER 15
Telepon | Pesawat Telepon | Perkantoran Internasional | bar: MARET,JUNI,SEPTEMBER,DESEMBER 15
Telepon | Pesawat Telepon | Pier 1 Internasional | bar: MARET,JUNI,SEPTEMBER,DESEMBER 15
Telepon | Pesawat Telepon | Pier 2 Domestik | bar: MARET,JUNI,SEPTEMBER,DESEMBER 15
Telepon | Pesawat Telepon | Plaza Domestik | bar: MARET,JUNI,SEPTEMBER,DESEMBER 15
Telepon | Pesawat Telepon | SCP 2 Domestik | bar: MARET,JUNI,SEPTEMBER,DESEMBER 18
Fasilitas Masjid | Petunjuk Waktu Sholat | Arrival Domestik | bar: MARET,JUNI,SEPTEMBER,DESEMBER 27
Fasilitas Masjid | Petunjuk Waktu Sholat | Arrival Internasional | bar: MARET,JUNI,SEPTEMBER,DESEMBER 27
Fasilitas Masjid | Petunjuk Waktu Sholat | BL Domestik | bar: MARET,JUNI,SEPTEMBER,DESEMBER 30
Fasilitas Masjid | Petunjuk Waktu Sholat | BL Internasional | bar: MARET,JUNI,SEPTEMBER,DESEMBER 30
Fasilitas Masjid | Petunjuk Waktu Sholat | Check-in | bar: MARET,JUNI,SEPTEMBER,DESEMBER 30
Fasilitas Masjid | Petunjuk Waktu Sholat | Gedung VIP | bar: MARET,JUNI,SEPTEMBER,DESEMBER 30
Fasilitas Masjid | Petunjuk Waktu Sholat | Masjid Domestik | bar: MARET,JUNI,SEPTEMBER,DESEMBER 30
Fasilitas Masjid | Petunjuk Waktu Sholat | Masjid Internasional | bar: MARET,JUNI,SEPTEMBER,DESEMBER 30
Fasilitas Masjid | Petunjuk Waktu Sholat | Pier 2 Domestik
Fasilitas Masjid | Petunjuk Waktu Sholat | Ruang Server | bar: JANUARI,APRIL,JULI,OKTOBER 6
Fasilitas Masjid | Petunjuk Waktu Sholat | Skybridge Internasional | bar: JANUARI,APRIL,JULI,OKTOBER 6
Fasilitas Masjid | Sound System Masjid | Masjid Domestik | bar: JANUARI,APRIL,JULI,OKTOBER 6
Fasilitas Masjid | Sound System Masjid | Masjid Internasional | bar: JANUARI,APRIL,JULI,OKTOBER 6
Fasilitas Masjid | CCTV Masjid | Masjid Domestik | bar: JANUARI,APRIL,JULI,OKTOBER 6
Fasilitas Masjid | CCTV Masjid | Masjid Internasional | bar: JANUARI,APRIL,JULI,OKTOBER 6
Note on D108: value scp2 domestik tidak di temukan
Note on D88: value ruang server tidak di temukan

## GES T3 SEMESTERAN
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33
CATEGORY | JENIS PERANGKAT | AREA | JANUARI,JULI |  |  |  |  | FEBRUARI,AGUSTUS |  |  |  |  | MARET,SEPTEMBER |  |  |  |  | APRIL,OKTOBER |  |  |  |  | MEI,NOVEMBER |  |  |  |  | JUNI,DESEMBER
|  |  | 1 | 7 | 14 | 21 | 28 | 1 | 7 | 14 | 21 | 28 | 1 | 7 | 14 | 21 | 28 | 1 | 7 | 14 | 21 | 28 | 1 | 7 | 14 | 21 | 28 | 1 | 7 | 14 | 21 | 28
Fire Alarm System | PC Monitoring FAS | Ruang Server |  |  |  | PS
Digital Media | Digital Banner | Arrival Domestik |  |  |  | M
Digital Media | Digital Banner | Arrival Internasional |  |  |  | M
Digital Media | Digital Banner | BCB Domestik |  |  |  | M
Digital Media | Digital Banner | BL Domestik |  |  |  |  | PS
Digital Media | Digital Banner | BL Internasional |  |  |  |  | PS
Digital Media | Digital Banner | Check-in |  |  |  |  | PS
Digital Media | Digital Banner | Curbside |  |  |  |  | M
Digital Media | Digital Banner | Plaza Domestik |  |  |  |  | M
Digital Media | Digital Banner | SCP 2 Domestik |  |  |  |  | M
Digital Media | Digital Banner | SCP 2 Internasional | [5 empty] | PS
Digital Media | Running Text | Pier 2 Domestik | [5 empty] | PS
Digital Media | Running Text | BL Domestik | [5 empty] | PS
Digital Media | Running Text | BHS | [5 empty] | M
Digital Media | Running Text | BL Internasional | [5 empty] | M
Digital Media | Running Text | Parkir Domestik | [5 empty] | M
Digital Media | Running Text | Parkir Internasional | [6 empty] | PS
Digital Media | Static Bigmaps | BCB Domestik | [6 empty] | PS
Digital Media | Static Bigmaps | BCB Internasional | [6 empty] | PS
Digital Media | Static Bigmaps | BL Domestik | [6 empty] | M
Digital Media | Static Bigmaps | BL Internasional | [6 empty] | M
Digital Media | Static Bigmaps | Check-in | [6 empty] | M
Digital Media | Static Bigmaps | Curbside | [7 empty] | PS
Digital Media | Static Bigmaps | Plaza Domestik | [7 empty] | PS
Digital Media | Static Bigmaps | SCP 2 Internasional | [7 empty] | PS
Digital Media | Wayfinding | BL Internasional | [7 empty] | M
Digital Media | Wayfinding | BL Domestik | [7 empty] | M
Digital Media | Wayfinding | BCB Domestik | [7 empty] | M
Digital Media | Wayfinding | BCB Internasional | [8 empty] | PS
Digital Media | Wayfinding | Arrival Domestik | [8 empty] | PS
Digital Media | Wayfinding | Arrival Internasional | [8 empty] | PS
Digital Media | Wayfinding | Skybridge Domestik | [8 empty] | M
Digital Media | Wayfinding | Skybridge Internasional | [8 empty] | M
Digital Media | Wayfinding | SCP 2 Domestik | [8 empty] | M
Digital Media | Wayfinding | SCP 2 Internasional | [9 empty] | PS
Digital Media | Wayfinding | Plaza Domestik | [9 empty] | PS
Digital Media | Wayfinding | Plaza Internasional | [9 empty] | PS
Digital Media | Wayfinding | Check-in | [9 empty] | M
Digital Media | TV Hiburan | Pier 2 Domestik | [9 empty] | M
Digital Media | TV Informasi | Check-in | [9 empty] | M
Digital Media | Digital Signage | Pier 1 Internasional | [10 empty] | PS
Digital Media | Digital Signage | BL Internasional | [10 empty] | PS
Digital Media | Digital Signage | BL Domestik | [10 empty] | PS
Digital Media | Digital Signage | Pier 2 Domestik | [10 empty] | M
Digital Media | Videotron | Parkir Domestik | [10 empty] | M
Digital Media | Videotron | Curbside | [10 empty] | M
IBMS / TCS / BAS | PC Server IBMS | Ruang Server | [13 empty] | M
Intercom dan CCTV Lift | Master Intercom | Ruang Server | [15 empty] | PS
Intercom dan CCTV Lift | Master Intercom | Perkantoran Domestik | [15 empty] | M
Game Station | Game Station | BL Domestik | [17 empty] | M
Public Address System | PC Server PAS | Ruang Server | [18 empty] | M
Smart Airport | Smart Baggage | BCB Domestik | [19 empty] | M
Smart Airport | Smart Toilet | Arrival Domestik | [19 empty] | M
Smart Airport | Smart Toilet | Arrival Internasional | [19 empty] | M
Smart Airport | Smart Toilet | BL Domestik | [20 empty] | PS
Smart Airport | Smart Toilet | BL Internasional | [20 empty] | PS
Smart Airport | Smart Toilet | Check-in | [20 empty] | PS
Smart Airport | Smart Toilet | Mezzanine Domestik | [20 empty] | M
Smart Airport | Smart Toilet | Mezzanine Internasional | [20 empty] | M
Smart Airport | Smart Toilet | Parkir Domestik | [20 empty] | M
Smart Airport | Smart Toilet | Parkir Internasional | [21 empty] | PS
Smart Airport | Smart Toilet | Skybridge Domestik | [21 empty] | PS
Smart Airport | Smart Toilet | Skybridge Internasional | [21 empty] | PS
Smart Airport | VICA | Ruang Server | [21 empty] | M
Smart Airport | VICA | BL Internasional | [21 empty] | M
Smart Airport | VICA | BL Domestik | [21 empty] | M
Smart Airport | VICA | Arrival Domestik | [22 empty] | PS
Smart Airport | VICA | Check-in | [22 empty] | PS
Smart Airport | Smart Parkir | Parkir Internasional | [22 empty] | PS
Smart Airport | Smart Parkir | Parkir Domestik | [22 empty] | M
Smart Airport | Smart Parkir | Ruang Server | [22 empty] | M
Smart Airport | CTF | Check-in | [22 empty] | M
Smart Airport | CTF | SCP 2 Internasional | [23 empty] | PS
Smart Airport | CTF | SCP 2 Domestik | [23 empty] | PS
Smart Airport | CTF | BCB Domestik | [23 empty] | PS
Smart Airport | CTF | BCB Internasional | [23 empty] | M
Telepon | Server PABX | Ruang Server | [26 empty] | PS
Time Distribution System | Master Clock | Check-in | [26 empty] | M
Time Distribution System | Master Clock | Perkantoran Domestik | [26 empty] | M
Time Distribution System | Master Clock | Gedung VIP | [26 empty] | M
Fasilitas Masjid | Petunjuk Waktu Sholat | Arrival Domestik | M
Fasilitas Masjid | Petunjuk Waktu Sholat | Arrival Internasional | M
Fasilitas Masjid | Petunjuk Waktu Sholat | BL Domestik |  | PS
Fasilitas Masjid | Petunjuk Waktu Sholat | BL Internasional |  | PS
Fasilitas Masjid | Petunjuk Waktu Sholat | Check-in |  | PS
Fasilitas Masjid | Petunjuk Waktu Sholat | Gedung VIP |  | M
Fasilitas Masjid | Petunjuk Waktu Sholat | Masjid Domestik |  | M
Fasilitas Masjid | Petunjuk Waktu Sholat | Masjid Internasional |  | M
Fasilitas Masjid | Petunjuk Waktu Sholat | Pier 2 Domestik |  |  | PS
Fasilitas Masjid | Petunjuk Waktu Sholat | Ruang Server |  |  | PS
Fasilitas Masjid | Petunjuk Waktu Sholat | Skybridge Internasional |  |  | PS
Fasilitas Masjid | Sound System Masjid | Masjid Domestik |  |  | M
Fasilitas Masjid | Sound System Masjid | Masjid Internasional |  |  | M
Fasilitas Masjid | CCTV Masjid | Masjid Domestik |  |  | M
Fasilitas Masjid | CCTV Masjid | Masjid Internasional |  |  | M
Note on D74: value ruang server tidak di temukan

## GES T3 TAHUNAN
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33
CATEGORY | JENIS PERANGKAT | AREA | JANUARI,JULI |  |  |  |  | FEBRUARI,AGUSTUS |  |  |  |  | MARET,SEPTEMBER |  |  |  |  | APRIL,OKTOBER |  |  |  |  | MEI,NOVEMBER |  |  |  |  | JUNI,DESEMBER
|  |  | 1 | 7 | 14 | 21 | 28 | 1 | 7 | 14 | 21 | 28 | 1 | 7 | 14 | 21 | 28 | 1 | 7 | 14 | 21 | 28 | 1 | 7 | 14 | 21 | 28 | 1 | 7 | 14 | 21 | 28
Fire Alarm System | MCFA | Ruang Server | [25 empty] | PS
Digital Media | Digital Banner | Arrival Domestik |  |  |  | M
Digital Media | Digital Banner | Arrival Internasional |  |  |  | M
Digital Media | Digital Banner | BCB Domestik |  |  |  | M
Digital Media | Digital Banner | BL Domestik |  |  |  |  | PS
Digital Media | Digital Banner | BL Internasional |  |  |  |  | PS
Digital Media | Digital Banner | Check-in |  |  |  |  | PS
Digital Media | Digital Banner | Curbside |  |  |  |  | M
Digital Media | Digital Banner | Plaza Domestik |  |  |  |  | M
Digital Media | Digital Banner | SCP 2 Domestik |  |  |  |  | M
Digital Media | Digital Banner | SCP 2 Internasional | [5 empty] | PS
Digital Media | Running Text | Pier 2 Domestik | [5 empty] | PS
Digital Media | Running Text | BL Domestik | [5 empty] | PS
Digital Media | Running Text | BHS | [5 empty] | M
Digital Media | Running Text | BL Internasional | [5 empty] | M
Digital Media | Running Text | Parkir Domestik | [5 empty] | M
Digital Media | Running Text | Parkir Internasional | [6 empty] | PS
Digital Media | Static Bigmaps | BCB Domestik | [6 empty] | PS
Digital Media | Static Bigmaps | BCB Internasional | [6 empty] | PS
Digital Media | Static Bigmaps | BL Domestik | [6 empty] | M
Digital Media | Static Bigmaps | BL Internasional | [6 empty] | M
Digital Media | Static Bigmaps | Check-in | [6 empty] | M
Digital Media | Static Bigmaps | Curbside | [7 empty] | PS
Digital Media | Static Bigmaps | Plaza Domestik | [7 empty] | PS
Digital Media | Static Bigmaps | SCP 2 Internasional | [7 empty] | PS
Digital Media | Wayfinding | BL Internasional | [7 empty] | M
Digital Media | Wayfinding | BL Domestik | [7 empty] | M
Digital Media | Wayfinding | BCB Domestik | [7 empty] | M
Digital Media | Wayfinding | BCB Internasional | [8 empty] | PS
Digital Media | Wayfinding | Arrival Domestik | [8 empty] | PS
Digital Media | Wayfinding | Arrival Internasional | [8 empty] | PS
Digital Media | Wayfinding | Skybridge Domestik | [8 empty] | M
Digital Media | Wayfinding | Skybridge Internasional | [8 empty] | M
Digital Media | Wayfinding | SCP 2 Domestik | [8 empty] | M
Digital Media | Wayfinding | SCP 2 Internasional | [9 empty] | PS
Digital Media | Wayfinding | Plaza Domestik | [9 empty] | PS
Digital Media | Wayfinding | Plaza Internasional | [9 empty] | PS
Digital Media | Wayfinding | Check-in | [9 empty] | M
Digital Media | TV Hiburan | Pier 2 Domestik | [9 empty] | M
Digital Media | TV Informasi | Check-in | [9 empty] | M
Digital Media | Digital Signage | Pier 1 Internasional | [10 empty] | PS
Digital Media | Digital Signage | BL Internasional | [10 empty] | PS
Digital Media | Digital Signage | BL Domestik | [10 empty] | PS
Digital Media | Digital Signage | Pier 2 Domestik | [10 empty] | M
Digital Media | Videotron | Parkir Domestik | [10 empty] | M
Digital Media | Videotron | Curbside | [10 empty] | M
IBMS / TCS / BAS | PC Server IBMS | Ruang Server | [13 empty] | M
Intercom dan CCTV Lift | NVR Intercom | Ruang Server | [15 empty] | M
Game Station | Game Station | BL Domestik | [17 empty] | M
Public Address System | Sound Management System | Ruang Server | [19 empty] | PS
Public Address System | Sound Management System | Arrival Internasional | [19 empty] | PS
Public Address System | Sound Management System | Arrival Domestik | [19 empty] | PS
Smart Airport | Smart Baggage | BCB Domestik | [19 empty] | M
Smart Airport | Smart Toilet | Arrival Domestik | [19 empty] | M
Smart Airport | Smart Toilet | Arrival Internasional | [19 empty] | M
Smart Airport | Smart Toilet | BL Domestik | [20 empty] | PS
Smart Airport | Smart Toilet | BL Internasional | [20 empty] | PS
Smart Airport | Smart Toilet | Check-in | [20 empty] | PS
Smart Airport | Smart Toilet | Mezzanine Domestik | [20 empty] | M
Smart Airport | Smart Toilet | Mezzanine Internasional | [20 empty] | M
Smart Airport | Smart Toilet | Parkir Domestik | [20 empty] | M
Smart Airport | Smart Toilet | Parkir Internasional | [21 empty] | PS
Smart Airport | Smart Toilet | Skybridge Domestik | [21 empty] | PS
Smart Airport | Smart Toilet | Skybridge Internasional | [21 empty] | PS
Smart Airport | VICA | Ruang Server | [21 empty] | M
Smart Airport | VICA | BL Internasional | [21 empty] | M
Smart Airport | VICA | BL Domestik | [21 empty] | M
Smart Airport | VICA | Arrival Domestik | [22 empty] | PS
Smart Airport | VICA | Check-in | [22 empty] | PS
Smart Airport | Smart Parkir | Parkir Internasional | [22 empty] | PS
Smart Airport | Smart Parkir | Parkir Domestik | [22 empty] | M
Smart Airport | Smart Parkir | Ruang Server | [22 empty] | M
Smart Airport | CTF | Check-in | [22 empty] | M
Smart Airport | CTF | SCP 2 Internasional | [23 empty] | PS
Smart Airport | CTF | SCP 2 Domestik | [23 empty] | PS
Smart Airport | CTF | BCB Domestik | [23 empty] | PS
Smart Airport | CTF | BCB Internasional | [23 empty] | M
Telepon | Pesawat Telepon | Apron | [23 empty] | M
Telepon | Pesawat Telepon | Arrival Domestik | [23 empty] | M
Telepon | Pesawat Telepon | Arrival Internasional | [24 empty] | PS
Telepon | Pesawat Telepon | Bhs | [24 empty] | PS
Telepon | Pesawat Telepon | BL Domestik | [24 empty] | PS
Telepon | Pesawat Telepon | BL Internasional | [24 empty] | M
Telepon | Pesawat Telepon | Check-in | [24 empty] | M
Telepon | Pesawat Telepon | Gedung VIP | [24 empty] | M
Telepon | Pesawat Telepon | Mezzanine Internasional | [25 empty] | PS
Telepon | Pesawat Telepon | Perkantoran Domestik | [25 empty] | PS
Telepon | Pesawat Telepon | Perkantoran Internasional | [25 empty] | PS
Telepon | Pesawat Telepon | Pier 1 Internasional | [25 empty] | M
Telepon | Pesawat Telepon | Pier 2 Domestik | [25 empty] | M
Telepon | Pesawat Telepon | Plaza Domestik | [25 empty] | M
Telepon | Pesawat Telepon | SCP 2 Domestik | [26 empty] | PS
Telepon | PC Server PABX | Ruang Server | [26 empty] | PS
Time Distribution System | Master Clock | Check-in | [26 empty] | M
Time Distribution System | Master Clock | Perkantoran Domestik | [26 empty] | M
Time Distribution System | Master Clock | Gedung VIP | [26 empty] | M
Fasilitas Masjid | Petunjuk Waktu Sholat | Arrival Domestik | [29 empty] | M
Fasilitas Masjid | Petunjuk Waktu Sholat | Arrival Internasional | [29 empty] | M
Fasilitas Masjid | Petunjuk Waktu Sholat | BL Domestik | PS
Fasilitas Masjid | Petunjuk Waktu Sholat | BL Internasional | PS
Fasilitas Masjid | Petunjuk Waktu Sholat | Check-in | PS
Fasilitas Masjid | Petunjuk Waktu Sholat | Gedung VIP | M
Fasilitas Masjid | Petunjuk Waktu Sholat | Masjid Domestik | M
Fasilitas Masjid | Petunjuk Waktu Sholat | Masjid Internasional | M
Fasilitas Masjid | Petunjuk Waktu Sholat | Pier 2 Domestik |  | PS
Fasilitas Masjid | Petunjuk Waktu Sholat | Ruang Server |  | PS
Fasilitas Masjid | Petunjuk Waktu Sholat | Skybridge Internasional |  | PS
Fasilitas Masjid | Sound System Masjid | Masjid Domestik |  | M
Fasilitas Masjid | Sound System Masjid | Masjid Internasional |  | M
Fasilitas Masjid | CCTV Masjid | Masjid Domestik |  | M
Fasilitas Masjid | CCTV Masjid | Masjid Internasional |  | M
Note on D75: value ruang server tidak di temukan